Moreland City Council

Moreland Landscape Guidelines    October 2009

The purpose of these guidelines is to assist developers, property owners and designers in the preparation of landscape plans. The guidelines seek to ensure that the landscaping enhances the existing local character and is sustainable in the long term.  An effective landscape plan will integrate the development with the surrounding environment and will provide attractive and livable open spaces for residents.  It is well known that a quality landscape will improve site amenity and enhance property values.
All planning applications, where landscaping is required as part of the planning approval, should refer to these guidelines.  
The objectives of the guidelines are to:

· Encourage effective landscape practice in the long term, which results from considered design, correct site preparation and selection of plant species
· Protect and enhance indigenous flora and fauna, heritage plants and large trees in the landscape
These guidelines provide the following information:

1. Landscape Approval as part of the planning application process

2. Checklist of items that must be included on the landscape plan

3. Design guidelines

4. Planting guidelines

5. Procedure for protecting existing vegetation during construction, including indigenous (local native) vegetation and street trees

6. Environmentally sustainable landscape designs

7. How to obtain professional assistance if required

8. Sample of a typical landscape plan showing a commonly used layout, symbols and graphics

9. Weed list – plants to avoid

10. Preferred list of plant species for the Moreland area including a list of Indigenous Plant Nurseries

1. Landscape Plan Approval as part of the planning application process
What type of planning applications require a landscape plan?

All planning applications where landscaping is included as part of the proposal will require submission of a landscape plan.

Pre-application advice

The first step in the application process is to seek pre-application advice from Council. The processing times for planning applications depends on the adequacy and accuracy of the documentation submitted to Council. Council encourages developers, property owners and designers to check that applications include all the documentation required and that these documents contain all the relevant information and thoroughly describe the proposed works. To avoid delay and minimise issues arising late in the planning process, the landscape plan, particularly impacts on significant trees, should be discussed at the pre-application stage of the process.

At what stage of the planning application process is a landscape plan required?

A landscape plan will be required either as part of the permit application or, following the issue of a planning permit, as a permit condition that will require a landscape plan before plans are endorsed. 

Landscape Plan Upfront - as part of the application

It is always preferable to provide the landscape plan with the planning application at the beginning of the process.  This enables Council to assess the landscaping qualities of the proposal in detail, which may assist in a positive decision on the application.  The loss of vegetation and trees without adequate replacement landscaping is often a concern of objectors.  Providing a quality landscape plan upfront may therefore also reduce potential objections from neighbours.  

For some planning applications a landscape plan and/or arborist report may be required before the proposal is advertised or assessed. These applications generally are:

· Large scale proposals (i.e. planning applications for ten or more dwellings, large industrial/commercial developments)

· Proposals where landscaping is considered critical to the determination of an application (i.e. where areas for landscaping are constrained or critical to the justification of the proposed built form)

· Where significant trees are to be removed or the development may have potential impact on existing significant trees. In these instances an arborist report will be required along with a landscape plan (see page 3 of these Guidelines for more details).

Landscape Plan as a permit condition – after the issue of a Planning Permit

For some planning applications submission of a landscape plan may be delayed until after the issue of a planning permit as part of the conditions of that permit.  These applications generally are:

· Small scale proposals (i.e. less than 10 dwellings)

Note that Council will need to be satisfied that adequate area is provided for the landscape before agreeing to delay the submission of a landscape plan to after the issue of the permit. 

Protection/Retention of Site Trees and Street Trees
Where appropriate, large and/or significant trees should be retained.  Developers should check the status of protection of significant trees on private properties as part of the pre- application process to ascertain if any changes in policy have occurred. 

Arborist report

Planning applications where trees are proposed to be removed or may be affected by the proposal may require submission of an arborists report.  The arborist report should outline:

· Health of the tree(s)

· Height

· DBH – Diameter at Breast Height

· Reason for proposed retention/removal

· Minimum buffer distance for the tree(s)'s safe retention, irrespective of whether the tree is proposed to be removed or retained.

Street trees

In terms of character, environmental impact and amenity, the loss of street trees to accommodate vehicle access requirements of higher density developments is a major concern.  

Street trees will not necessarily be removed if a proposed crossover or the design requires the removal of the tree. It is therefore critical for applicants to determine whether Council will support removal of a street tree.  This should be determined early on in the planning process, preferably at pre-application stage. Generally, healthy street trees that contribute significantly to the character of the street will not be removed.  

Note that a buffer distance of 3 metres from the edge of the trunk at breast height is required. This will ensure that sightlines are not effected, limit damage to tree roots and reduce the likelihood of future damage to the crossover. 
See page 10 for Procedure for Protecting Existing Vegetation
Sites in close proximity to creeks/environmentally significant areas

Sites within 100 metres of creeks (Merri, Moonee Ponds, Edgars, Merlynston and Westbreen Creeks) or other environmentally significant areas, such as Jukes Road Grassland, should use indigenous species in the landscape where possible and ensure plants chosen have no/very low weed potential. 

A list of indigenous plants is included in the Preferred Plants for the Moreland Area list provided on page 16.  Further reference books that can assist with plant choice include Plants of the Merri Merri (Merri Creek Management Committee/Friends of Merri Creek 1994) or Council’s Gardening with Indigenous Plants in Moreland (2005).

Assessment and approval

Council’s officers will assess the submitted landscape plan. The applicant will be notified if any changes to the plan are required.  

Proposals on Public Land 

Bank guarantee prior to construction of landscape 

Council may levy a bank guarantee, as a condition of the planning permit, prior to construction and planting of the landscape.  The landscape works are to be constructed in line with the endorsed landscape plans. Any changes proposed are to be approved by Council as a variation to the original permit. The bank guarantee will be returned at the end of the maintenance period (see below) if compliant with the endorsed landscape plan. 
Completion 

Council must be notified in writing when construction of the landscape is completed.  At this time, the landscape will be inspected by Council’s Coordinator Open Space Maintenance to ensure it complies with the approved landscape plan. Once the constructed landscape has been inspected and approved by the council officer the maintenance period will commence. It is suggested that the landscaping occurs once the building works are completed.  

Maintenance

It is the responsibility of the developer to maintain the landscape to a satisfactory condition. The length of the maintenance period will be for a minimum of 12 months once a council officer has approved the constructed landscape.

The developer should book a final inspection by arranging a time with Council’s Coordinator Open Space Maintenance. The landscape will be assessed for its conformity to the plan and the health of the plants.  The landscape bank guarantee will be redeemable after the designated maintenance period, subject to Council officer acceptance in writing of the maintained landscape.
Note: The requirements for each submission could vary depending on the size and extent of the proposed public works.

2.
Landscape Plan Checklist

A qualified Landscape Architect or Landscape Designer who has a degree in horticulture and relevant experience should prepare the landscape plan. See example on Page 14. The plan must include the following information, as appropriate:

· A plan of the site at 1:100 or 1:200.  The plan must include; the title, property address, date
of drawing, scale, north point, legend and designers name and details and the planning reference number
· All site boundaries are to be indicated, including fence material and height if applicable

· The proposed development, including the location and height of neighbouring buildings,


including locations of windows

· Identification (including accurate location, species, height and width) of any existing tree(s)

and vegetation proposed to be removed and retained. Vegetation to be retained must have strategies for retaining the vegetation included in documentation (i.e. barriers and signage during the construction process)

· Edging materials to be used (e.g. timber plinth) around garden bed and lawn areas

· Location of utility meters and any on-site power poles

· Location of overhead power lines or any other services on the site

· Existing vehicle crossovers and new vehicle crossovers with 1 metre wide splays across


the nature strip from the footpath to the kerb, if proposed

· Accurate location of existing street trees showing height and canopy spread

· Location of open space, including parks and creeks, if adjoining property or parallel to the


property

· Location and detail for installation of a drip irrigation system with timer and rain sensor, if 


proposed to be installed 

· Details of the location and type of all paved and sealed areas. Extensive hard surfaces are

not supported. The adoption of porous/permeable paving, rain gardens and other water sensitive urban design features is encouraged to ease impact of water run-off
· Landscape Schedule - A schedule of plants will be required for the landscape plan. 


Information required:

· All proposed plants and their proposed locations (including botanical name, common name, height and width at maturity).  The flora selection and landscape design should be drought tolerant and based on species selection recommended in these Guidelines.
· The provision of canopy trees within the front setback(s) to assist in the integration of the development within the existing streetscape
· Pot/plant size at time of planting

· Plant quantities and spacing’s
· Plant type (tree, shrub etc)
· Planting detail for trees, when used. This should be a graphic showing depth of planting hole, staking, and mulching depth (see example on page 9)
· For large-scale developments and for developments in *environmentally sensitive or heritage locations, a landscape design statement will be required. The landscape design statement should be a brief written document that clearly explains the design principles and justifies the proposed landscape development, especially in relation to:

· Local area character including the selection of fence type, plant species, materials and colours;
· Consideration of access for all abilities standards;
· Natural ecosystems; and 
· Environmentally sustainable design
*Environmentally sensitive areas – areas containing indigenous vegetation, close to creek corridors,

habitat areas, grasslands or parks

3. 
Design Guidelines

The design needs to keep in mind the impact on existing vegetation, heritage values, and neighbouring properties, including open space, creeks and the streetscape. 

Landscape Designer

A suitably qualified Landscape Architect or Landscape Designer who has a degree in horticulture and relevant professional experience should prepare the landscape plan. It is advised that developers and property owners engage the Landscape Architect/Designer in the early stages to ensure proper consideration of landscape factors and to contribute to a sustainable cost effective outcome.

Existing vegetation

Where appropriate the design should retain existing vegetation, particularly significant indigenous vegetation and large trees. It is crucial to note any existing local laws or planning controls regarding tree or native vegetation removal, as well as state or federal legislation regarding native vegetation protection. 

Heritage areas

Developments in areas with a heritage overlay may not be able to remove vegetation without a planning permit and any landscaping should be in keeping with the heritage of the site. On sites covered by an environmental significance overlay larger trees cannot be removed without a planning permit. Refer to Moreland Planning Scheme: Clause 42.01 Schedule 1 and 2; tree circumference, 1 metre above ground level over 0.35; over 6 metres high or branch spread of over 4 metres].

Native Vegetation

Developers should aim to protect and conserve native vegetation if present on the site, reduce the impact of the development on land and water and provide habitat for plants and animals where appropriate.

Applicants should:

· Avoid the removal of native vegetation.

·  If the removal of native vegetation cannot be avoided, to minimise the removal   

       of native vegetation through appropriate planning and design.

· To appropriately offset the loss of native vegetation.

(See Clause 52.17 Moreland’s Planning Scheme for further information)

Site permeability

High site permeability is encouraged.  At least 20% of the total site area (including building floor area) should be permeable.  Permeable paving should be installed, where paving is proposed.  Where possible, and practicable, water runoff should be directed towards garden beds.
Garden beds

Ideally one metre garden beds should be provided to allow sufficient space for plants to grow, particularly to provide for screening in relation to adjoining buildings and for shade. The minimum size for garden beds should be 500 mm. This will provide adequate growing conditions for climbers, some small shrubs and strap leaved and tufting plants.  This minimum width will ensure that there is adequate soil for water retention, adequate space to contain the plant and mulch, and in the case of garden beds along driveways will limit the need for constant management of the vegetation to prevent damage to vehicles, and maintain sightlines.  

Plant selection

Plant selection is a very important component of the landscape design.  All plants used in the design should be suited to the local environment, and contribute to a low water use, sustainable landscape. The use of indigenous (local native) species and native plants is  encouraged to make up a significant part of the design incorporated with other suitable exotic species. See Page 16 for a list of preferred plants for Moreland.  Weedy plants, such as Broom (Genista monspessulana) and Cootamundra Wattle (Acacia baileyana) for example, should not be planted, particularly near creeks or grasslands. See the Weed List provided on page 15 for plants to avoid.

Trees

Maximising the use of trees is encouraged in all developments.  The number and density of trees required will vary depending on the nature of the development and the character of the neighbourhood. For example, a residential development on less than 300m2 should provide at least one canopy tree while a car park should provide at least one canopy tree for each five (5) car spaces, and all front and rear gardens from 25m2 should provide at least one canopy tree.  Consideration of deciduous trees for winter sun and summer shade on the northern and western sides of the development is encouraged. The use of trees will ameliorate the effects of heat and enhance the amenity of the space. 

4. Planting Guidelines

Site preparation 

All areas to be landscaped should be weed free and clear of building rubble. Existing soil should be used and ameliorated with ‘soil conditioner’ (composted organic matter) to a depth of 100mm.  Soil should not be brought onto the site unless required. Soil pH should be checked and soil decompacted as necessary. Choosing the right plant to grow in the existing soil conditions will provide a more successful landscape. 

Soil & Waste in Drains

All efforts to avoid soil and other deleterious materials entering pits or drains during the landscaping works must be made.  The Contractor shall remove and dispose off site (not by washing down the pipe) any material, which enters the pits. Council has a local law, ‘Environmental and Civic Assets Local Law 2006’, where any building works to be carried out on any land must be done in a way to minimise the risks of stormwater pollution, through the contamination of run-off by chemicals, sediments, or gross pollutants in accordance with currently accepted best practice. 
Planting

Plants should be purchased from reputable nurseries to ensure compliance to the landscape plan. Where indigenous plants are noted on a plan these should be purchased from specialist growers to ensure that plants of local provenance are used in the landscape.  A list of local Indigenous Plant Nurseries is provided on  page 25. If plants listed on the plans are unavailable contact the responsible Council Officer to approve changes to the plant list.  This may require a variation to the planning permit.
All planting should be undertaken by a suitably qualified landscaper/horticulturist to ensure quality work is undertaken.
Planting should be scheduled to occur between May and October.  Plants should be in accordance with the endorsed landscape plan, including the pot size and number of plants.  Plant only as deep as the rootball, and make the hole at least twice the width of the rootball.  Do not “fluff-up” the soil underneath the rootball, as this will cause the plant to sink below the soil surface. Do not amend the soil being put back into the hole (use the existing soil).  It is extremely important to water the plant in well immediately after planting to remove air pockets in the soil.  Mulch to a depth of 75mm after planting, being careful not to place mulch close to the trunk.  See diagram on page 9 for planting detail.

Confined Planting areas – e.g. Planter boxes, street tree

Provide as large a container/root space as possible. As plants will be growing in a confined area and can easily be stressed through water shortage sustainable methods of watering/irrigation will be required.  Also plants can easily get overwatered so it is equally important to provide adequate drainage. Street trees should be planted in the onsite soil and it may be necessary to provide a drain at the base of the planting hole.  When using a tub or planter box a planting mix with high mineral content and mostly made up of soil is important.

Recommended Tree Planting Detail 
[image: image3.jpg]BE(6)

Existing Pyrus cafleryana to be

protected & retianed

X } Y { /\ f i ——
Co R
>< o
OE e R
£ 46 B S
T T T T 1
P e o e B
>< T T T T T T T T T T T T T T T T 1
S S S S S ) S
A L e L L T T T space for herbs &
AE ‘\‘\‘\‘\‘\‘\‘\‘\‘\‘\‘\‘\‘\‘\‘\‘\‘\‘\‘\‘\‘\‘ vegetable garden
Roof line | B S S S A A
CA(2) L LT T T T T T T T T T T I T IT/
‘ [T T T T T T T T [ T T T T T T T =
| \LV‘\‘\‘\‘\‘\‘\‘\‘\‘\‘\‘\‘\‘\‘\‘\‘\‘\‘ Rain water storage tank
S S S S e minimum 2000L
L . T T . [.T [ .1 T.1 T .[.T.[.1
ST T T T T T T T T T T TJ}”
[T T T T T T T T T *”
SL T T T T T T 1]
/
Outdoor undercover
Garden/
store
shed
Garage
Proposed 2 storey dwelling |
| Entry
1
) =<
1
P>
|
| AA3
<]
i
| L Driveway
i
I
<
|
SR(2
IS SR(2)
I
L SR(9)
f
i
LetteFbox in timber fence CA(6)
Footpath
N v N v v N v N N v N v N
N N2 N2 v N2 v N2 N2 v N2 v v N2
v v v v N v v v N N v v v
v v v v v N v v N v Existing Allocauarina sp
- w - - - - - - w - street tree to be protected &
v v v N N N v v v v retianed
3000 v N N v v v v v v N v Q
v v v N v v v i v N v N v
Proposgd new street tree
v v N v N . v
location to be selected and
v v v v v L v
planted by Council
1 L L . I Y . v . L 1
| \
PLANTING SCHEDULE
KEY BOTANIC NAME COMMON NAME INSTALL SIZE MATURE SIZE (hxw) QTYy KEY | DESCRIPTION
Advanced trees Bush mulch, 75mm depth
JMA N Melia azedarach White cedar 401t or greater 9000mm x 6000mm 1
Oleu ewropuea 'Tolley's Upright' Olive 401t or greater 6000mm x 6000mm 1 Lilydale toppings
Shrubs Compacted to 75mm depth
{BE | Bunksiu ericifolia Heath banksia (kept as hedge) 150 mm pot 2500mm x 1500mm 9 Concrete paving
4CA | Correa alba White correa 150 mm pot 1500mm x 1500mm 15
AWF | Westringia fruticosa Costal Rosmary 150 mm pot 1500mm x 1000mm 4 1 1] Recycled red brick paving or
Ground covers ] other suitable paver
3| Calocephalus citreus Lemon beauty heads 150 mm pot 500mm x 500mm 11 « v | Lawn altemative Microluena
| Myoporum parvifolium Creeping boobiala 150 mm pot 150mm x 1500mm 10 .| stipoides (Weeping grass)
Strappy plants L Timber edge
Diunella revolutu 'Little Rev' Dianella Little Rev 150 mm pot 300mm x 300mm 78
Strelitzia regenge Bird of Paradise 150 mm pot 1500mm x 1500mm 18
Succulents SAMPLE LANDSCAPE PLAN
A | Agave attenuaty Swan neck agave 150 mm pot 1000mm x 1500mm 11 :
Climbers Unit 1, 1 Sample Street | date 18052000 N
HY Huardenbergia violaceae Purple coral pea 150 mm pot 4000mm x 4500mm 3 SAMPLETOWN scale 1:100 @AA
page 1of1





[image: image2.png]


Drawn K.D. Smith, not to scale. Used with the permission of the author.

Recommended design for a typical uncovered individual tree pit or planting hole. Adapted from 
Craul (1992).
Watering

It is important to consider how your landscape will be watered. Water is essential in maintaining a newly planted and all plants should be watered as soon as they are planted.  Landscapes should be watered over a minimum of 12 months.  A drip irrigation system is the most efficient way to water your landscape but must be fitted with a rain sensor and be on a timer.  Even in the cooler months there may be limited rainfall so watering of plants may be required.  

If the landscape is to be hand watered it may be necessary to purchase recycled water to sustain your landscape. Alternatively installation of a water tank or use of a grey water system are excellent ways to provide water to your landscape. 

Please check the Melbourne Water Website at www.melbournewater.com.au to check current water restrictions. 

Reinstatement

Where existing ground surfaces, particularly nature strips, are not required to be varied as part of the works, restore them to the condition existing at the commencement of the contract.
5.
Procedure for Protecting Existing Vegetation

All care should be taken to ensure that no damage occurs, both above and below ground, to vegetation to be retained, including those beyond the site area such as street trees or remnant indigenous vegetation. Vegetation to be retained is not to be removed. 

The Contractor shall encircle nominated vegetation with safety tape attached to star pickets. For trees the tape should be around the drip line (at edge of the tree canopy) or 3 metres from the edge of the trunk at breast height, whichever is the greater, and for indigenous vegetation surround the whole area to be protected with tape attached to star pickets. 

If the area to be developed requires a number of contractors to use the site then the star pickets and tape should be replaced by a temporary cyclone fence structure with signs on each side, which state that ‘This is a tree/indigenous vegetation protection zone – No entry’. 

The areas within the tape/fence are to be kept free of construction material and debris. In particular do not place bulk materials or harmful materials on, under or near protected vegetation. Do not place spoil from excavations against tree trunks. Prevent any damage to tree bark. Do not attach stays, guys and the like to trees.
Excavation near protected vegetation

Excavation requires approval from Council’s Arborist or Natural Resource Officer, if within 4.5m of the protected vegetation or trees to be retained. The designated Council Officer will only allow trenching where the route is outside the averaged extent of tree drip line, or 3.0m from the tree trunk, whichever is the greater distance, and the trench is shorter than 1m. Works may have to be undertaken by hand to reduce impact on vegetation.  Where possible directional boring below the tree root plate (at 600-1000mm) is recommended. 

6.
Environmentally Sustainable Landscape Design

Council is committed to an environmentally sustainable city. It encourages innovative landscape solutions to conserve water and energy and reduce waste in all landscape designs.

Measures for energy conservation include:

· Selection of plants and planting patterns that contribute to the solar efficiency of the building, and minimise heat island effect;

· Limited use of concrete (extremely high user of energy in the production of the raw ingredient);
· Plants and other materials should be selected to reduce the resources required for establishment/construction, management, and ongoing maintenance;
· Provide an area for air drying of clothes; 
· Avoidance of lighting connected to mains electricity
Measures for waste reduction include:

· Design for and implementation of composting and mulching to return nutrients to the soil.

· Disposal on site where possible, such as if a tree is removed, use the mulched up tree as the mulch, or reuse soil from one part of the site in another part of the site.
· Recycling of materials, including using wood from demolished buildings
· Allocation of space for recycling/mulching systems.
Water Sensitive Design

It is critical that all proposed designs implement water sensitive landscape designs to attain high quality landscapes.  This can be achieved through employing some of the following methods:

· Creating Rain Gardens - see  http://www.melbournewater.com.au/content/library/publications/fact_sheets/drainage/how_to_build_a_raingarden.pdf 

· Use of sub ground irrigation (‘leaky hose’ placed under mulch) or drip irrigators and water timers, with rain sensor*

· Water tanks for use on the landscape

· Grouping plants with similar water requirements

· Choice of low water use plants to reduce water use

· Design of paths and garden beds to direct water onto garden beds

· Use of permeable paving (pavers on a bed of sand)
· Mulching beds with organic matter to a depth of 75mm.  It is important not to place mulch up against the stems of plants as this can cause the plant to rot.  Mulch should taper towards plants as shown in the attached detail
· Creating ecosystems through planting trees and shrubs within the landscape to reduce the effects of wind
· Limit use of turf areas, and where turf is used establish warm season turf species, such as Kikuyu, Couch and Buffalo species.  There are many varieties now available including fine leaf and salt tolerant varieties. There are also native grasses available, such as Weeping Grass (Microlaena stipoides), and native groundcover species that can be used as turf replacements, such as Kidney Weed (Dichondra repens).
*Check Melbourne Water’s website for current water restrictions. http://www.melbournewater.com.au/content/water_conservation/water_restrictions/water_restrictions.asp

Sustainable materials

A key ingredient in the development of gardens is the use of sustainable materials, where possible.  This can reduce the need to bring in materials from far destinations, limiting transport costs, and also reduce the use of rare timbers, such as Teak. This can include:

· Ensure materials required are accurately estimated to avoid waste

· Construct landscape elements to standard dimensions to reduce waste

· Look at the materials already on site and consider ways to re-use them imaginatively

· Choose materials that involve minimal industrial refinement and processing

· Source recycled materials wherever possible rather than newly processed products

· If possible use products from your local region such as local rocks, gravels. Enquire with your retailer about their source

· Use of materials produced from renewable resources, such as use of recycled timbers, or plantation grown timbers

· Use of local soil, preferably from on site rather than importing soil.  Scrape the topsoil from the site before works begin, store it on site, and keep free from contamination of rubbish so that soil can be reused for landscaping.
Habitat values

Where possible habitat protection, enhancement and creation should be considered as part of the overall landscape design, particularly if the development is close to natural areas, such as creeks or parks.  Indigenous (locally native) plant species should be used and the species chosen to favour particular fauna.  

Principles of creating habitats include choosing plants of a range of heights that provide flowers at different times of the year, management of your pets responsibly and minimising chemical use. Sweet Bursaria (Bursaria spinosa) to encourage butterflies, or small prickly plants such as Hedge Wattle (Acacia paradoxa), for encouraging small birds, are examples of suitable flowering plants. 

Productive landscapes

Providing space for fruit/nut trees and vegetable gardens is encouraged in any landscape design, especially for residential areas.  A key to the success of productive gardens is providing adequate sunlight and water.  Water tanks should be provided to sustain productive gardens.
7.
Professional Assistance

General advice on landscape plans can be sought from Council’s Urban Planning and Building Branch when applying for a planning permit.  For professional assistance it is advisable to contact an appropriate landscape architect, landscape designer or engineering firm or individual.

A list of Landscape Architects is available from:

Australian Institute of Landscape Architects

49 Exhibition Street

Melbourne Vic 3000

Telephone: (03) 9650 1898

www.aila.org.au
Landscape Industries Association of Victoria

PO Box 706

Mt Waverley Vic 3149

Telephone: 1300 365 428

www.liav.com.au
A list of Landscape Designers is available from:

Australian Institute of Horticulture

www.aih.org.au
Australian Institute of Landscape Designers & Managers

PO Box 5037

Kingsdene NSW 2118

1300 131 280

www.aildm.com.au
A list of civil firms for works such as drainage design, service locations, footing computation and traffic and parking issues is available from:

Association of Consulting Engineers Australia

Suite 203/21 Bedford Road

North Melbourne 3051

Telephone: (03) 9326 9700

www.acea.com.au
8.
Sample Landscape Plan 

[image: image1.wmf] 



9.
Weed List – Plants to Avoid

	Botanical Name
	Common Name
	Botanical Name
	Common Name

	Acacia baileyana
	Cootamundra Wattle
	Galium aparine
	Cleavers

	Acacia karroo
	Karoo Thorn
	Genista linifolia
	Flax-leaf Broom

	Acacia decurrens
	Early Black Wattle
	Genista monspessulana
	Montpellier Broom

	Acacia longifolia
	Sallow Wattle
	Hedera helix
	Ivy

	Acer negundo
	Maple
	Ilex aquifolium
	Holly

	Ailanthus altissima
	Tree of Heaven
	Ipomoea indica
	Blue morning Glory

	Allium triquetrum
	Angled Onion
	Ligustrum spp.
	Privet

	Anagallis arvensis
	Pimpernel
	Lysium ferocissimum
	Boxthorn

	Anredera cordifolia
	Madeira Vine
	Myrsiphyllum asparagoides
	Bridal Creeper

	Araujia sericifera
	Moth Plant
	Nasella neesiana
	Chilean Needle Grass

	Artemisia vertoliorum
	Chinese Wormwood
	Nasella trichotoma
	Serrated Tussock

	Arundo donax
	Giant Reed
	Nassella tenuissima
	Mexican Feather Grass

	Calicotome spinosa
	Spiny Broom
	Opuntia monacantha
	Drooping Prickly-pear

	Chamaecytisus palmensis
	Tree Lucerne
	Opunta stricta
	Erect Prickly-pear

	Chrysanthemoides monilifera
	Boneseed
	Oxalis pes-caprae
	Soursob

	Conium maculatum
	Hemlock
	Parietaria judacia
	Asthma Weed

	Coprosma repens
	Mirror Bush
	Passiflora mollissima
	Banana Passionfruit

	Cortaderia selloana
	Pampas Grass
	Pennisetum spp.
	Fountain Grass, Feather Top, Swamp Foxtail Grass

	Cotoneaster spp.
	Cotoneaster
	Pittosporum undulatum
	Sweet Pittosporum

	Crataegus monogyna
	Hawthorn
	Pyracantha angustifolia
	Firethorn

	Crocosmia x crocosmiiflora
	Montbretia
	Ranunculus repens
	Creeping Buttercup

	Cynaria cardunculus
	Artichoke Thistle
	Rhamnus alaternus
	Italian Buckthorn

	Cytisus scoparius
	English Broom
	Rubus fruticosus spp. agg.
	Blackberry

	Delairea odorata
	Cape Ivy
	Tradescantia albiflora
	Wandering Jew

	Eichhornia crassipes
	Water Hyacinth
	Trifolium spp.
	Clover

	Echium plantagineum
	Paterson’s Curse
	Ulex europaeus
	Gorse

	Erica lusitanica
	Spanish Heath
	Vinca major
	Blue Periwinkle

	Fraxinus angustifolia
	Desert Ash
	Watsonia meriana cv. bulbillifera
	Bulbil Watsonia


*Note that a full list of weeds can be found at the Dept of Primary Industries web link: http://www.dpi.vic.gov.au/DPI/VRO/vrosite.nsf/pages/lwm_pest_plants
10.
Preferred Plants for the Moreland Area 

*Please note – this list is a guide only. 

	Botanical Name 
	Common Name
	 Height
	Width
	Indigenous (local native)
	Native
	Exotic
	Revegetation 
	Landscape
	Park
	Street Tree
	High Drought Tolerance
	Hedging

	Large Trees > 10 metres
	 
	 
	 
	
	
	
	
	
	
	
	
	

	Acacia dealbata 
	Silver Wattle
	10–20
	 4–8
	
	
	
	
	
	
	
	
	

	Acacia melanoxylon 
	Blackwood
	8–15 
	 5–10
	
	
	
	
	
	
	
	
	

	Acer campestre 'Queen Elizabeth'
	Queen Elizabeth’s Hedge Maple
	10-12
	4
	
	
	
	
	
	
	
	
	

	Allocasuarina luehmannii 
	Bull Oak
	5–15
	5–10
	
	
	
	
	
	
	
	
	

	Allocasuarina torulosa 
	Rose She-oke
	10–15
	4–6
	
	
	
	
	
	
	
	
	

	Angophora costata 
	Smooth-bark Apple-myrtle
	10–15
	5–10
	
	
	
	
	
	
	
	
	

	Araucaria heterophylla
	Norfolk Island Pine
	30
	15
	
	
	
	
	
	
	
	
	

	Brachychiton acerifolius
	Illawarra Flame Tree
	8-20
	5
	
	
	
	
	
	
	
	
	

	Callitris glaucophylla
	Marung
	3-20
	1-4
	
	
	
	
	
	
	
	
	

	Celtis australis
	American Hackberry
	10-15
	5-7
	
	
	
	
	
	
	
	
	

	Corymbia eximia
	Yellow Bloodwood
	12
	5
	
	
	
	
	
	
	
	
	

	Corymbia ficifolia
	Red Flowering Gum
	6-8
	6-8
	
	
	
	
	
	
	
	
	

	Cupressus sempervirens 
	Mediterranean Cypress
	15-20
	2-4
	
	
	
	
	
	
	
	
	

	Eucalyptus camaldulensis 
	River Red Gum 
	15–25
	10–20
	
	
	
	
	
	
	
	
	

	Eucalyptus leucoxylon ssp. connata 
	Yellow Gum
	10–15
	 5–10
	
	
	
	
	
	
	
	
	

	Eucalyptus melliodora 
	Yellow Box 
	15–25
	10–20
	
	
	
	
	
	
	
	
	

	Eucalyptus microcarpa 
	Grey Box
	15–25
	10–15
	
	
	
	
	
	
	
	
	

	Eucalyptus ovata 
	Swamp Gum
	 8–12
	5–10
	
	
	
	
	
	
	
	
	

	Botanical Name 
	Common Name
	 Height
	Width
	Indigenous (local native) 
	Native
	Exotic
	Revegetation 
	Landscape
	Park
	Street Tree
	High Drought Tolerance
	Hedging

	Eucalyptus polyanthemos ssp. vestita 
	Red Box
	10–15
	6–10
	
	
	
	
	
	
	
	
	

	Eucalyptus scoparia 
	Wallangarra White Gum
	10-15
	3-5
	
	
	
	
	
	
	
	
	

	Eucalyptus tricarpa (sideroxylon) 
	Red Ironbark 
	15–20
	10–20
	
	
	
	
	
	
	
	
	

	Eucalyptus viminalis 
	Manna Gum
	15–25
	10–20
	
	
	
	
	
	
	
	
	

	Ficus microcarpa var. hilli 
	Hills Weeping Fig 
	10–15
	5–10
	
	
	
	
	
	
	
	
	

	Gleditsia tricanthos
	Honey Locust
	20
	5
	
	
	
	
	
	
	
	
	

	Lophostemon confertus 
	Brush Box
	10–15
	4–8
	
	
	
	
	
	
	
	
	

	Maclura pomifera 'Witchita'
	Witchita Osage Orange (non fruiting/thorns)
	20
	5
	
	
	
	
	
	
	
	
	

	Michelia doltsopa 
	Chinese Magnolia Tree 
	3–15
	1–5
	
	
	
	
	
	
	
	
	

	Pyrus calleryana hybrids
	Callery Pear
	15
	10
	
	
	
	
	
	
	
	
	

	Quercus canariensis
	Algerian Oak
	20-30
	20-30
	
	
	
	
	
	
	
	
	

	Quercus ilex  
	Holly Oak
	20
	15
	
	
	
	
	
	
	
	
	

	Quercus suber 
	Cork Oak
	6–12 
	4–6
	
	
	
	
	
	
	
	
	

	Small Trees <10 metres
	 
	 
	 
	
	
	
	
	
	
	
	
	

	Acacia implexa 
	Lightwood
	6–8
	4–8
	
	
	
	
	
	
	
	
	

	Acacia pendula
	Weeping Myall
	5-10
	4
	
	
	
	
	
	
	
	
	

	Acacia pycnantha 
	Golden Wattle
	3–10
	2–5
	
	
	
	
	
	
	
	
	

	Acer buergerianum
	Trident Maple
	9
	5
	
	
	
	
	
	
	
	
	

	Acer monspessulanum
	Montpellier Maple
	5-9
	5
	
	
	
	
	
	
	
	
	

	Agonis flexuosa 
	Willow Myrtle 
	6–8
	5–8
	
	
	
	
	
	
	
	
	

	Allocasuarina littoralis 
	Black She-oke
	5–8
	2–5
	
	
	
	
	
	
	
	
	

	Allocasuarina verticillata 
	Drooping She-oke
	6–8 
	4–6
	
	
	
	
	
	
	
	
	

	Arbutus x andrachnoides 
	Hybrid Strawberry Tree
	8
	6
	
	
	
	
	
	
	
	
	

	Banksia ericifolia 
	Heath Banksia
	6
	5
	
	
	
	
	
	
	
	
	

	Botanical Name 
	Common Name
	 Height
	Width
	Indigenous (local native)
	Native
	Exotic
	Revegetation 
	Landscape
	Park
	Street Tree
	High Drought Tolerance
	Hedging

	Banksia integrifolia subsp. integrifolia
	Coastal Banksia
	10
	4
	
	
	
	
	
	
	
	
	

	Banksia marginata 
	Silver Banksia
	8
	3
	
	
	
	
	
	
	
	
	

	Banksia serrata 
	Saw Banksia
	5
	5
	
	
	
	
	
	
	
	
	

	Brachychiton populneus 
	 Kurrajong
	10
	8
	
	
	
	
	
	
	
	
	

	Bursaria spinosa var. spinosa 
	Sweet Bursaria
	4–8
	3–6
	
	
	
	
	
	
	
	
	

	Callistemon salignus 
	Willow Bottlebrush
	5–8
	3–5
	
	
	
	
	
	
	
	
	

	Callitris glaucophylla 
	White Cypress-pine
	5–8
	4–6
	
	
	
	
	
	
	
	
	

	Catalpa bignonioides 'Nana'
	Dwarf Indian Bean (mop-top)
	4
	2-3
	
	
	
	
	
	
	
	
	

	Ceratonia siliqua 
	Carob
	10
	10
	
	
	
	
	
	
	
	
	

	Cercis siliquastrum 
	Judas Tree
	8
	6
	
	
	
	
	
	
	
	
	

	Elaeocarpus reticulatus 
	Blueberry Ash
	10
	3-5
	
	
	
	
	
	
	
	
	

	Eucalyptus caesia 
	Gungurru 
	4-6
	3-5
	
	
	
	
	
	
	
	
	

	Eucalyptus macrandra 
	Long-flowered Marlock
	3-8
	4-10
	
	
	
	
	
	
	
	
	

	Eucalyptus macrocarpa  
	Mottlecah
	2-3
	3
	
	
	
	
	
	
	
	
	

	Eucalyptus risdonii 
	Risdon Peppermint
	5-8
	4-6
	
	
	
	
	
	
	
	
	

	Eucalyptus torquata 
	Coral Gum
	5–8
	4–6
	
	
	
	
	
	
	
	
	

	Fraxinus ornus
	Manna Ash
	6
	5
	
	
	
	
	
	
	
	
	

	Hymenosporum flavum 
	Native Frangipani
	10
	2-3
	
	
	
	
	
	
	
	
	

	Lagerstroemia hybrids 
	Crepe Myrtle
	2–5
	1–3
	
	
	
	
	
	
	
	
	

	Leptospermum lanigerum 
	Woolly Tea-tree
	5
	2
	
	
	
	
	
	
	
	
	

	Leptospermum obovatum 
	River Tea-tree
	3
	1.5
	
	
	
	
	
	
	
	
	

	Melia azedarach ‘Elite’ 
	Low Fruiting White Cedar
	10
	8
	
	
	
	
	
	
	
	
	

	Melicytus dentatus
	Tree Violet
	3
	2
	
	
	
	
	
	
	
	
	

	Metrosideros excelsa 
	New Zealand Christmas Tree
	5–10
	2–4
	
	
	
	
	
	
	
	
	

	Botanical Name 
	Common Name
	 Height
	Width
	Indigenous (local native) 
	Native
	Exotic
	Revegetation 
	Landscape
	Park
	Street Tree
	High Drought Tolerance
	Hedging

	Olea europaea 'Swan Hill’ 
	Low fruiting European Olive 
	7
	5
	
	
	
	
	
	
	
	
	

	Olea europaea 'Tolley's Upright’ 
	Upright European Olive
	7
	5
	
	
	
	
	
	
	
	
	

	Pistacia chinensis 
	Chinese Pistachio
	10
	8
	
	
	
	
	
	
	
	
	


	Pomaderris aspera 
	Hazel Pomaderris 
	3–10
	5
	
	
	
	
	
	
	
	
	

	Punica granatum 
	Pomegranate
	5-8
	5-8
	
	
	
	
	
	
	
	
	

	Strelitzia nicholae 
	Bird of Paradise Tree
	10
	5
	
	
	
	
	
	
	
	
	

	Tristaniopsis laurina 
	Kanooka
	 5–8
	3–5
	
	
	
	
	
	
	
	
	

	Ulmus parvifolia
	Chinese Elm
	8-12
	8-15
	
	
	
	
	
	
	
	
	

	Shrubs
	 
	 
	 
	
	
	
	
	
	
	
	
	

	Acacia acinacea 
	Gold-dust Wattle
	0.5–2.5 
	2–4
	
	
	
	
	
	
	
	
	

	Acacia iteaphylla 
	Gawler Range Wattle
	3–5
	3–6
	
	
	
	
	
	
	
	
	

	Acacia paradoxa 
	Hedge Wattle
	2–4
	2–5
	
	
	
	
	
	
	
	
	

	Acacia pendula 
	Silver Myall
	 
	 
	
	
	
	
	
	
	
	
	

	Acacia retinoides 
	Wirilda
	4–7
	3–4
	
	
	
	
	
	
	
	
	

	Acacia verticillata 
	Prickly Moses
	2–6
	3–5
	
	
	
	
	
	
	
	
	

	Alyogyne hugleii
	Native Hibiscus
	2
	2
	
	
	
	
	
	
	
	
	

	Banksia ericifolia 
	Heath Banksia
	2–5
	1–2
	
	
	
	
	
	
	
	
	

	Banksia prionotes 
	Acorn Banksia
	4
	2
	
	
	
	
	
	
	
	
	

	Callistemon sieberi 
	River Bottlebrush
	3–8
	2–5
	
	
	
	
	
	
	
	
	

	Callistemon 'Great Balls of Fire'
	Callistemon
	1.75
	1.5
	
	
	
	
	
	
	
	
	

	Callistemon 'Hannah Ray'
	Callistemon
	4.5
	3
	
	
	
	
	
	
	
	
	

	Callistemon 'Little John'
	Callistemon
	1.2
	1.2
	
	
	
	
	
	
	
	
	

	Calothamnus quadrifidus 
	Common Net Bush
	1.5–3 
	1.5–3
	
	
	
	
	
	
	
	
	

	Coleonema album 
	White Diosma
	0.6–1.2
	0.6–1.2
	
	
	
	
	
	
	
	
	

	Correa alba
	White Correa
	1.5
	1.5
	
	
	
	
	
	
	
	
	

	Correa baeuerlenii 
	Chefs Cap Correa
	1–1.5
	1–1.5
	
	
	
	
	
	
	
	
	

	Correa glabra 
	Rock Correa
	1–3
	1–3
	
	
	
	
	
	
	
	
	

	Botanical Name 
	Common Name
	 Height
	Width
	Indigenous (local native)
	Native
	Exotic
	Revegetation 
	Landscape
	Park
	Street Tree
	High Drought Tolerance
	Hedging

	Correa reflexa 
	Common Correa
	0.3–2
	1–2
	
	
	
	
	
	
	
	
	

	Cotinus coggygria 
	Smoke Bush
	3
	4
	
	
	
	
	
	
	
	
	

	Darwinia citriodora 
	Lemon-scented Darwinia
	1
	1.5
	
	
	
	
	
	
	
	
	

	Dodonaea viscosa ssp. spathulatum
	Wedge-leaf Hop Bush
	1–3
	1–3
	
	
	
	
	
	
	
	
	

	Eremophila maculata 
	Spotted Emu Bush
	2
	2-3
	
	
	
	
	
	
	
	
	

	Escallonia rubra 
	Escallonia
	4
	3
	
	
	
	
	
	
	
	
	

	Eutaxia microphylla var. microphylla
	Small-leafed Eutaxia
	1
	0.5
	
	
	
	
	
	
	
	
	

	Goodenia ovata 
	Hop Goodenia
	1–2.5
	1–3
	
	
	
	
	
	
	
	
	

	Grevillea longifolia
	Grevillea
	4.5
	3-4
	
	
	
	
	
	
	
	
	

	Grevillea 'Poorinda Firebird' 
	Grevillea
	1.5
	2
	
	
	
	
	
	
	
	
	

	Grevillea rosmarinifolia 
	Rosemary Grevillea
	1–3
	2–3
	
	
	
	
	
	
	
	
	

	Gynatrix pulchella 
	Hemp Bush
	2–4
	1.5–3
	
	
	
	
	
	
	
	
	

	Indogofera australis
	Austral Indigo
	1.5
	2
	
	
	
	
	
	
	
	
	

	Kunzea ericoides 
	Burgan
	2–5
	2–4
	
	
	
	
	
	
	
	
	

	Leucospermum cordifolium 
	Nodding Pincushion
	1.5
	2
	
	
	
	
	
	
	
	
	

	Melaleuca 'Little Red'
	Little Red Melaleuca
	1
	1
	
	
	
	
	
	
	
	
	

	Myoporum insulare 
	Boobialla
	1–5
	1–3
	
	
	
	
	
	
	
	
	

	Myoporum viscosum 
	Sticky Boobialla
	0.5–2
	1.5–2
	
	
	
	
	
	
	
	
	

	Philadelphus mexicanus
	Mexican Mock Orange
	4
	4
	
	
	
	
	
	
	
	
	

	Pittosporum tobira 
	Japanese Pittosporum
	6
	3-4
	
	
	
	
	
	
	
	
	

	Pomaderris racemosa
	Slender Pomaderris
	3
	2
	
	
	
	
	
	
	
	
	

	Rhagodia parabolica 
	Fragrant Saltbush 
	0.5–2
	0.5–1.5
	
	
	
	
	
	
	
	
	

	Rhaphiolepis umbellata
	Yeddo Hawthorn
	1.5
	2
	
	
	
	
	
	
	
	
	

	Senna artemisioides
	Silver Cassia
	2
	3
	
	
	
	
	
	
	
	
	

	Spiraea cantoniensis 
	Reeves Spiraea
	1.5–2
	1–1.5
	
	
	
	
	
	
	
	
	

	Tanacetum ptarmiciflorum 
	Silver Lace Plant
	1.2
	1
	
	
	
	
	
	
	
	
	

	Botanical Name 
	Common Name
	 Height
	Width
	Indigenous (local native)
	Native
	Exotic
	Revegetation 
	Landscape
	Park
	Street Tree
	High Drought Tolerance
	Hedging

	Viminaria juncea 
	Native Broom
	2–5
	2
	
	
	
	
	
	
	
	
	

	Westringia 'Wynyabbie Gem’
	Westringia
	2-3
	2-3
	
	
	
	
	
	
	
	
	

	Westringia fruticosa 
	Native Rosemary 
	1.5
	1
	
	
	
	
	
	
	
	
	

	Groundcovers & Small Shrubs
	 
	 
	 
	
	
	
	
	
	
	
	
	

	Atriplex semibaccata 
	Creeping Saltbush 
	0.1–0.3
	1–3
	
	
	
	
	
	
	
	
	

	Banksia petiolaris 
	Groundcover Banksia
	0.3
	3
	
	
	
	
	
	
	
	
	

	Brachyscome basaltica
	Basalt Daisy
	0.4
	0.4
	
	
	
	
	
	
	
	
	

	Brachyscome cardiocarpa 
	Swamp Daisy
	0.3
	0.3
	
	
	
	
	
	
	
	
	

	Brachyscome multifida var. multifida
	Cut Leaf Daisy 
	0.2
	0.5
	
	
	
	
	
	
	
	
	

	Calocephalus citreus 
	Lemon Beauty Heads
	0.5
	0.3–1
	
	
	
	
	
	
	
	
	

	Calocephalus lacteus 
	Milky beauty Heads
	0.3
	0.3–0.5
	
	
	
	
	
	
	
	
	

	Chrysocephalum apiculatum 
	Common Everlasting
	0.3
	1–2
	
	
	
	
	
	
	
	
	

	Convolvulus cneorum 
	Silver Leafed Convolvulus
	0.6
	0.9
	
	
	
	
	
	
	
	
	

	Coprosma x kirkii 
	Village Green
	1
	2.5
	
	
	
	
	
	
	
	
	

	Correa lawrenciana
	Tree Correa
	2-6
	2-5
	
	
	
	
	
	
	
	
	

	Correa pulchella 
	Salmon Correa
	0.6
	1
	
	
	
	
	
	
	
	
	

	Craspedia variabilis 
	Billy Buttons
	0.3
	0.5
	
	
	
	
	
	
	
	
	

	Dampiera linearis 
	Common Dampiera 
	Prostrate
	1
	
	
	
	
	
	
	
	
	

	Dichondra repens 
	Kidney Weed 
	0.15
	Indefinite
	
	
	
	
	
	
	
	
	

	Einadia nutans
	Climbing Saltbush
	0.2
	2
	
	
	
	
	
	
	
	
	

	Enchylaena tomentosa 
	Ruby Saltbush
	0.1–1
	0.5–1
	
	
	
	
	
	
	
	
	

	Euphorbia rigida 
	Euphorbia
	0.2
	1
	
	
	
	
	
	
	
	
	

	Grevillea 'Bronze Rambler'
	Groundcover Grevillea
	0.2
	2
	
	
	
	
	
	
	
	
	

	Helichrysum scorpioides 
	Button Everlasting
	0.3
	0.3
	
	
	
	
	
	
	
	
	

	Botanical Name 
	Common Name
	 Height
	Width
	Indigenous (local native)
	Native
	Exotic
	Revegetation 
	Landscape
	Park
	Street Tree
	High Drought Tolerance
	Hedging

	Iberis sempervirens
	Candytuft
	0.3
	0.3
	
	
	
	
	
	
	
	
	

	Iris unguicularis
	Algerian Iris
	0.3
	Indefinite
	
	
	
	
	
	
	
	
	

	Juniperus horizontalis
	Creeping Juniper
	0.15
	3
	
	
	
	
	
	
	
	
	

	Juniperus sabina
	Savin Juniper
	0.6
	1.5-2
	
	
	
	
	
	
	
	
	

	Kennedia prostrata 
	Running Postman
	0.1
	1–2.5
	
	
	
	
	
	
	
	
	

	Leucophyta brownii 
	Cushion Bush
	0.5–1
	1–2
	
	
	
	
	
	
	
	
	

	Limonium perezii
	Statice
	0.6
	0.75
	
	
	
	
	
	
	
	
	

	Myoporum parvifolium 
	Creeping Boobialla
	0.1
	2–4
	
	
	
	
	
	
	
	
	

	Pelargonium australe 
	Australs Stork’s-bill
	0.3–0.6 
	0.3–1
	
	
	
	
	
	
	
	
	

	Pelargonium rodneyanum 
	Magenta Stork’s-bill
	0.3
	0.5
	
	
	
	
	
	
	
	
	

	Podolepis jaceoides 
	Showy Podolepis
	0.3–0.6
	0.3
	
	
	
	
	
	
	
	
	

	Pratia pedunculata 
	Matted Pratia
	0.1
	 2–3
	
	
	
	
	
	
	
	
	

	Rhagodia spinescens 
	Hedge Saltbush
	0.4–0.6 
	1–1.5
	
	
	
	
	
	
	
	
	

	Rosmarinus officinalis 
	Rosemary 
	0.75
	1.5
	
	
	
	
	
	
	
	
	

	Veronica gracilis 
	Slender Speedwell
	0.3
	1
	
	
	
	
	
	
	
	
	

	Viola hederacea 
	Native Violet
	0.15
	 1–2
	
	
	
	
	
	
	
	
	

	Wahlenbergia communis 
	 Tufted Bluebell
	0.5
	0.15
	
	
	
	
	
	
	
	
	

	Wahlenbergia stricta 
	Tall Bluebell
	0.4–0.9
	0.3–0.5
	
	
	
	
	
	
	
	
	

	Strappy Leaved Plants
	 
	 
	 
	
	
	
	
	
	
	
	
	

	Anigozanthus bicolor
	Little Kangaroo Paw 
	0.3–0.6 
	0.3–0.8
	
	
	
	
	
	
	
	
	

	Arthropodium cirratum
	Rengarenga
	1
	Indefinite
	
	
	
	
	
	
	
	
	

	Clivia miniata
	Kaffir Lily
	0.6
	0.6
	
	
	
	
	
	
	
	
	

	Dianella amoena
	Matted Flax Lily
	0.4
	0.6
	
	
	
	
	
	
	
	
	

	Dianella longifolia var. longifolia 
	Smooth Flax-lily
	0.3–0.8
	0.5
	
	
	
	
	
	
	
	
	

	Dianella revoluta 'Little Rev'
	Dianella Little Rev
	0.3 
	 0.3
	
	
	
	
	
	
	
	
	

	Dianella revoluta var. revoluta 
	Black Anther Flax-lily
	0.3–1
	0.5–2.5
	
	
	
	
	
	
	
	
	

	Botanical Name 
	Common Name
	 Height
	Width
	Indigenous (local native)
	Native
	Exotic
	Revegetation 
	Landscape
	Park
	Street Tree
	High Drought Tolerance
	Hedging

	Dianella tasmanica 
	Tasmanian Flax Lily 
	0.5–1.5
	0.5–2
	
	
	
	
	
	
	
	
	

	Diplarrena moroea 
	Butterfly Flag 
	0.1–0.9
	0.1–1
	
	
	
	
	
	
	
	
	


	Doryanthes palmeri 
	Spear Lily
	2
	2
	
	
	
	
	
	
	
	
	

	Hemerocallis cultivars
	Day Lily
	0.6
	0.9
	
	
	
	
	
	
	
	
	

	Lomandra filiformis ssp. filiformis 
	Wattle Mat-rush
	0.1–0.5 
	0.1–0.2
	
	
	
	
	
	
	
	
	

	Lomandra longifolia 
	Spiny-headed Mat-rush
	0.5–1
	0.5–1
	
	
	
	
	
	
	
	
	

	Lomandra longifolia 'Tanika'
	 
	 
	 
	
	
	
	
	
	
	
	
	

	Orthrosanthus multiflorus 
	Morning Flag
	1–1.5
	1–1.5
	
	
	 
	 
	
	
	 
	
	 

	Patersonia occidentalis 
	Purple Flag
	0.3–0.6
	 0.3–0.6
	
	
	 
	 
	
	
	 
	
	 

	Strelitzia reginae 
	Bird of Paradise
	1.5
	2-3
	 
	 
	
	 
	
	
	 
	
	 

	Stylidium graminifolium var. graminifolium 
	Grass Trigger-plant
	0.2–0.6 
	 0.2–0.3
	
	 
	 
	
	
	
	 
	
	 

	Tussock Plants
	 
	 
	 
	
	 
	 
	 
	 
	 
	 
	 
	 

	Austrodanthonia duttoniana 
	Brown-back Wallaby Grass
	0.4
	0.5
	
	 
	 
	
	 
	 
	 
	
	 

	Austrodanthonia setaceae var. setaceae 
	Bristly Wallaby Grass
	0.3
	0.5
	
	 
	 
	
	 
	 
	 
	
	 

	Austrostipa elegantissima 
	Feather Spear-grass
	0.6
	0.6
	
	 
	 
	
	
	 
	 
	
	 

	Austrostipa semibarbata 
	Fibrous Spear-grass
	0.3–1
	0.3-1
	
	
	 
	
	 
	 
	 
	
	 

	Carex appressa 
	Tall Sedge
	0.5–1
	0.5–1
	
	 
	 
	
	 
	 
	 
	
	 

	Carex breviculmis 
	Short-stem Sedge
	0.15
	 
	
	 
	 
	
	 
	 
	 
	
	 

	Dicanthium sericeum 
	Silky Blue-grass
	0.3–0.5
	 
	
	 
	 
	
	 
	 
	 
	
	 

	Ficinia nodosa 
	Knobby Club-rush
	0.5–1.5
	0.6–2
	
	 
	 
	
	
	
	 
	
	 

	Poa labillardieri 
	Common Tussock Grass 
	1.2
	0.8
	
	 
	 
	
	 
	 
	 
	
	 

	Poa morrisii 
	Velvet Tussock Grass 
	0.3
	0.3
	
	 
	 
	
	 
	 
	 
	
	 

	Restio tetraphyllus 
	Tassel Cord-rush
	1–1.2 
	 0.6–1
	
	
	 
	 
	 
	 
	
	
	 

	Botanical Name 
	Common Name
	 Height
	Width
	Indigenous (local native)
	Native
	Exotic
	Revegetation 
	Landscape
	Park
	Street Tree
	High Drought Tolerance
	Hedging

	Themeda triandra 
	Kangaroo Grass
	0.4–1
	0.5
	
	
	 
	
	 
	 
	 
	
	 

	Succulents
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	Aeonium arboreum 'Swartzkop'
	Purple Aeonium
	0.4
	0.4
	 
	 
	
	 
	
	 
	 
	
	 

	Agave attenuata 
	Swan Neck Agave
	1
	1.5
	 
	 
	
	 
	
	 
	 
	
	 

	Agave geminiflora
	Agave
	0.6
	0.6
	 
	 
	
	 
	
	 
	 
	
	 

	Aloe hybrids
	Aloe
	0.6-1
	0.6-1
	 
	 
	
	 
	
	 
	 
	
	 

	Beschorneria yuccoides
	Mexican Lily
	1
	0.5
	 
	 
	
	 
	
	 
	 
	
	 

	Carpobrotus modestus 
	Pigface 
	0.1
	1–3
	
	 
	 
	
	
	 
	 
	
	 

	Cotyledon orbiculata 'Silver Waves'
	Silver Waves
	0.3
	0.7
	 
	 
	
	 
	
	 
	 
	
	 

	Crassula cephalophora var. Dubia
	Crassula
	0.1
	0.3
	 
	 
	
	 
	
	 
	 
	
	 

	Echevaria hybrids
	Hen and Chickens
	0.2
	0.3
	 
	 
	
	 
	
	 
	 
	
	 

	Kalanchoe tomentosa
	Panda Plant
	0.3
	0.3
	 
	 
	
	 
	
	 
	 
	
	 

	Sedum spathulifolium 'Cape Banco'
	Stonecrop 
	0.2
	0.3
	 
	 
	
	 
	
	 
	 
	
	 

	Sempervivum cultivars
	Sempervivum
	0.1
	0.5
	 
	 
	
	 
	
	 
	 
	
	 

	Senecio mandraliscae
	Blue Fingers
	0.3
	1
	 
	 
	
	 
	
	 
	 
	
	 

	Yucca filamentosa
	Adams Needle
	1
	1
	 
	 
	
	 
	
	 
	 
	
	 

	Yucca gloriosa
	Spanish Daggers
	2
	1
	 
	 
	
	 
	
	 
	 
	
	 

	Climbers
	 
	 
	 
	
	 
	 
	 
	 
	 
	 
	 
	 

	Clematis aristata 
	Old Man’s Beard
	5
	5
	
	 
	 
	
	 
	
	 
	
	 

	Clematis microphylla 
	Small-leafed Clematis
	5–10
	5
	
	 
	 
	
	 
	
	 
	
	 

	Ficus pumila 
	Creeping Fig
	15
	15
	 
	 
	
	 
	
	 
	 
	
	 

	Hardenbergia violaceae 
	Purple Coral Pea
	4
	4
	
	
	 
	
	
	
	 
	
	 

	Jasminum azoricum
	Azores Jasmine
	6
	6
	 
	 
	
	 
	
	 
	 
	
	 

	Jasminum mesnyii
	Primrose Jasmine
	3
	3
	 
	 
	
	 
	
	 
	 
	
	 

	Kennedia macrophylla 
	Kennedia
	6
	6
	
	
	 
	 
	
	 
	 
	
	 

	Botanical Name 
	Common Name
	 Height
	Width
	Indigenous (local native)
	Native
	Exotic
	Revegetation 
	Landscape
	Park
	Street Tree
	High Drought Tolerance
	Hedging

	Kennedia nigricans 
	Black Coral Pea
	6
	6
	 
	
	 
	 
	
	 
	 
	
	 

	Muehlenbeckia complexa
	Maidenhair Creeper
	5
	5
	 
	 
	
	 
	
	 
	 
	
	

	Pandorea pandorana 
	Wonga Wonga Vine 
	10
	10
	 
	
	 
	 
	
	 
	 
	
	 

	Parthenocissus tricuspidata 
	Boston Ivy
	15
	15
	 
	 
	
	 
	
	 
	 
	
	 

	Trachelospermum jasminoides
	Star Jasmine
	6-8
	6-8
	 
	 
	
	 
	
	 
	 
	
	 

	Wisteria sinensis 
	Chinese Wisteria
	15–20 
	15–20 
	 
	 
	
	 
	
	 
	 
	
	 

	Lawn and Lawn Alternatives
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	Austrodanthonia sp.
	Wallaby Grass
	 
	 
	
	 
	 
	 
	 
	 
	 
	 
	 

	Buchloe dactyloides var.
	Buffalo
	 
	 
	 
	 
	
	 
	
	 
	 
	
	 

	Cynodon dactylon var.
	Couch
	 
	 
	 
	 
	
	 
	
	
	 
	
	 

	Dichondra repens
	Kidney Weed
	 
	 
	
	 
	 
	 
	
	
	 
	
	 

	Microlaena stipoides
	Weeping Grass
	 
	 
	
	 
	 
	 
	
	
	 
	
	 

	Pennisetum clandestinum var.
	Kikuyu
	 
	 
	 
	 
	
	 
	
	
	 
	
	 

	Themeda triandra
	Kangaroo Grass
	 
	 
	
	 
	 
	 
	
	
	 
	
	 


Local Indigenous Nurseries

Victorian Indigenous Nurseries Cooperative (VINC)

Yarra Bend Road

FAIRFIELD 

03 9482 1710

Melbourne Wildlife Sanctuary Nursery

LaTrobe University -  LaTrobe Drive

BUNDOORA

03 94791206

CERES Bushfood Nursery

Lee Street

BRUNSWICK

03 93214403

Western Plains Flora

628 Wildwood Road

WILDWOOD

03 9740 3178

References

· Costermans L.F. 2000 Native trees and shrubs of south-eastern Australia, Reed New Holland Publishing, New South Wales.

· http://asgap.org.au 2009 Association of Societies for Growing Australian Plants website.

· http://www.anbg.gov.au 2009 Australian National Botanic Gardens website.
· http://www.metrotrees.com.au 2009 Metro Trees website.

· http://www.ozbreed.com.au 2008 Ozbreed environmental turf and plant breeding website.

· http://www.rbg.vic.gov.au 2009 Royal Melbourne Botanic Gardens website.

· http://www.sgaonline.org.au 2009 Sustainable Gardening Australia website.

· http://www.vinc.net.au 2005 Victorian Indigenous Nurseries Cooperative website.

· Merri Creek Management Committee 1994 Plants of the Merri Merri – A home gardener’s guide to using indigenous plants in the northern suburbs of Melbourne, Merri Creek Management Committee, Victoria.

· Moreland City Council 2004 Moreland Landscape Guidelines, Moreland City Council, Victoria.
· Moreland City Council 2004 Moreland Open Space Strategy, Moreland City Council, Victoria.

· Moreland City Council 2004 Moreland Street Landscape Strategy, Moreland City Council, Victoria.

· Moreland City Council 2005 Gardening with indigenous plants in Moreland, Moreland City Council, Victoria.
· National Trust 1992 Field guide to Victoria’s native grasslands, National Trust, Victoria.
· Society for Growing Australian Plants Maroondah Inc. 1993 Flora of Melbourne – a guide to the indigenous plants of the greater Melbourne area, SGAP, Victoria.

· University of Melbourne 2002 Burnley plant directory; a guide to the selection of landscape plants for south-eastern Australia, University of Melbourne, Burnley College, Richmond.

PAGE  
8

_1293885068.doc
[image: image1.png]- Exavate a sioping, shallow pianting hole, 2to 3 times the wicth
of the root ball

- Leave a space between muich and trunk.
- 75mm high berm to form a watering basin
~Top of the root bal flush with finished level of the planting hole:

- 75mm depth mulch, beyond the edge of the hole, overlapping
undisturbed soil

- Backfl with site sol, firming progressively

- Depth of pianting hole no deeper than the height of the root ball








